## Sheet1
Resilience |  | Feedback expected from the partners
| Repair time |  | repair time is dependent to the type of damage | or contamination | or …
|  | no repair time needed | -
|  | up to 1 week | no structural and less than up to 100m2 façade/floor damages etc.
|  | up to 1 month | very light structural damage up to 1000m2 façade/floor damages etc.
|  | up to 1 year | significant structural damage more than 1000m2 damage
|  | unrepairable | column failures or collapse
| Physical Usability |  | type of damage and location of damage
|  | no reduction in usability | no damage
|  | up to 100m2 cannot be used | up to 100m2 not safely accessible/functional
|  | between 101 and 500 m2 cannot be used | up to 500m2 not safely accessible/functional
|  | more than 500m2 cannot be used | more than 500m2 not safely accessible/functional
| Operational Usability |  | type of damage to services and location of damage
all services available
some services available work around possible
limited services available but livable
too much services out of order or critical service(s) out of order
Safety |  | Feedback expected from the partners
Victims
no victims
only light injuries
heavy injuries up to 10 people including possible lethality
heavy injuries up to 50 people including possible lethality
heavy injuries more than 50 people including possible lethality
Evacuation time
up to 5 minutes
up to 10 minutes
more than 10 minutes
Security |  | Feedback expected from the partners
Accesibility
all public access
partial access
all private access
Surveilance
no monitoring
monitoring access
video monitoring
Security check
Iconic |  | need input from other partners
Impact
Height
Functionality |  | need input from other partners
Logistics
Optimal space use
Energy-Efficiency |  | need input from other partners

## Sheet2
[6 empty] | repair time | [5 empty] | Physical usability
[6 empty] | no repair | <= 1 week | <= 1 month | <= 1 year | unrepairable | score | no reduction | <100 m2 | 100-500 m2 | >500 m2 | score
[5 empty] | score | 1 | 0.8 | 0.6 | 0.3 | 0 |  | 1 | 0.75 | 0.4 | 0.1
Scenarios |  | relative importance | relative importance to design | weigh factor | weigh factor total
Natural events | [14 empty] | 2
| Extreme wind load | 1 | 0.61728
| Extreme temperature | 0.01 | 0.0061728
| Flooding | 0.2 | 0.12346
| Seismic | 0.05 | 0.030864
| Wind+flood |  | 0
| Flood + contamination |  | 0
Intended incidents (terrorist) |  | 0.05 | 0.030864
| Explosion |  | 0
| Impact |  | 0
| Arson / Fire |  | 0
| Chemical/bio attack |  | 0
| Impact followed by fire |  | 0
| Dirty bomb |  | 0
Unintended incidents |  |  | 0
| Explosion | 0.05 | 0.030864
| Impact | 0.05 | 0.030864
| Fire | 0.2 | 0.12346
| Hazmat | 0.01 | 0.0061728
1.62
Wind load
| Force 1 | 1 | 0.82645
| Force 2 | 0.2 | 0.16529
| Force 3 | 0.01 | 0.0082645
1.21
Temperature
| T1 | 1 | 0.82645
| T2 | 0.2 | 0.16529
| T3 | 0.01 | 0.0082645
1.21
Seismic
| Level 1 | 1 | 0.82645
| Level2 | 0.2 | 0.16529
| Level 3 | 0.01 | 0.0082645
1.21
Flood
level1
level2
level 3
flood + wind
flood+ contamination
Intended incidents (terrorist)
| Explosion | 1
| Impact | 0.1
| Arson / Fire | 0.5
| Chemical/bio attack | 0.02
| Dirty bomb (radiological) | 0.01
1.63
Unintended explosion (no subcategory)
Unintended Impact
| Train | 0.01
| Car | 1
| Plane | 0.01
Unintended fire
Intensivity 1
Intensivity 2
Intensivity 3
Hazmat
Explosion
Chemical
Terrorist explosion
| Car bomb external | 0.3 | [5 empty] | 0.2 | 0.7 | 0.1
| Car bomb in parking garage | 0.3
| Back pack external | 0
| Back pack internal | 1